ELECTRICAL SERVICES – NAME, DESCRIPTION, PRICE, ESTIMATED TIME

| NO | Subject | Descriptions | Time | Rate |
| --- | --- | --- | --- | --- |
| 01 | Light / Fan Point > 3 | Wiring and installing a light with switch. (Wire type - (1/1.13) with in 15m) (Only for more than 3 Points) | 1.5H | 800.00 |
| 02 | Light / Fan Point < 4 | Wiring and installing a light with switch. (Wire type - (1/1.13) with in 15m) (Only for less than 4 Points) | 02H | 1000.00 |
| 03 | Plug Point | Installing a power socket with wiring. Wire type - (7/0.53) + Earth (7/0.68)) with in 15m) | 02H | 1500.00 |
| 04 | AC Point | Dedicated AC power line installation. Wire type - (7/0.68) + Earth (7/0.68)) with in 15m) | 2.5H | 2000.00 |
| 05 | 2-Way Switch | Control one light from two places. (Wire type - (1/1.13) with in 15m) | 3.5H | 3000.00 |
| 06 | Master Wiring (one point) | Wiring for control more lights in one place. (Wire type - (1/1.13) with in 15m) | 02H | 1500.00 |
| 07 | Calling Bell – Inside | Installing indoor bell. (Wire type - (1/1.13) with in 15m) | 1.5H | 850.00 |
| 08 | Calling Bell – Outside | Installing external doorbell. (Wire type - (1/1.13) with in 30m) | 03H | 2500.00 |
| 09 | Gate Light Fitting | Installing gate/compound light. (With Wiring) Wire type - (1/1.13)) with in 30m) | 03H | 2500.00 |
| 10 | MCB/RCCB Fitting | Installing / Replace circuit breaker / Residual Current Circuit Breaker. (Without wiring) | 0.5H | 400.00 |
| 11 | Earth Pitting | Earth rod installation. (With Wiring) Wire type - Earth (7/0.68)) with in 15m) | 02H | 2000.00 |
| 12 | Fan Fitting | Installing / Replace ceiling or wall fan. (Without wiring) | 1.5H | 1500.00 |
| 13 | Wall Lamp Fitting | Installing / Replace decorative wall lamp. (Without wiring) | 0.5H | 400.00 |
| 14 | Show Lamp Fitting | Installing / Replace decorative show lights. (Without wiring) | 03H | 4000.00 |
| 15 | Exhaust Fan Fitting | Installing / Replace exhaust fan. (Without wiring) | 02H | 1500.00 |
| 16 | Single Phase Motor Fitting | Connecting an electric motor. (With Wiring) Wire type - (7/0.53) + Earth (7/0.68)) with in 15m) | 02H | 2000.00 |
| 17 | Three-Phase Motor Fitting | Installing / Replace a 3 - phase motor. (Without wiring) | 02H | 2500.00 |
| 18 | Changeover – Single Phase | Installing / Replace a single-phase changeover. (Without wiring) | 01H | 1000.00 |
| 19 | Changeover – Three Phase | Installing / Replace 3-Phase changeover. (Without wiring) | 02H | 2000.00 |
| 20 | M.C.C.B Installation | Installing / Replace molded case circuit breaker. (Without wiring) | 02H | 3000.00 |
| 21 | ABC Box 8-Way (S Type) | Installing single-type breaker box. | 02H | 2000.00 |
| 22 | ABC Box 8-Way (D Type) | Installing double-type breaker box. | 03H | 3000.00 |
| 23 | Generator Fitting | Installing / Replace a Generator. (Without wiring) |  | 2500.00 |
| 24 | Water Heater Fitting | Installing / Replace a Water Heater. (Without wiring) |  | 1000.00 |
| 25 | Three-Phase Panel Board | Installing electrical panel board. | 10H | 20000.00 |
| 26 | MDB Panel Fitting | Master Distribution Panel Board | 12H | 25000.00 |
| 27 | Pipe Installation - Slap | Pipe Installation for concrete Slap. 350.00/ 1pipe | 0.5 | 350.00 |
| 28 | Wiring Wire type (1/1.13) | Wiring for more than 15m point / 30m point. 50.0/M | 0.1H | 50.00 |
| 29 | Wiring Wire type (7/0.53) | Wiring for more than 15m point. 80.0/M | 0.1H | 80.00 |
| 30 | Wiring Wire type (7/0.68) | Wiring for more than 15m point. 100.0/M | 0.1H | 100.00 |
| 31 | Wiring Wire type (7/0.85) | Wiring for specific lines. 120.0/M | 0.2H | 120.00 |
| 32 | Wiring Wire type (7/1.13) | Wiring for specific lines. 150.0/M | 0.2H | 150.00 |
| 33 | L Bar Fitting | L Bar or other bar fitting for CEB Supply. | 01H | 1000.00 |
| 34 | Power Shortage | Rapier the power outage. Identify problem and give solution. 1000.00/H (Not included Additional charges for replacement) | 01H | 1000.00 |